2026 Consumer Confidence Report

Goffstown Village Precinct

PWS ID#0911010

Introduction

As a responsible public water system (PWS), our mission is to deliver the best quality water.  Aging infrastructure presents challenges for maintaining safe quality drinking water and continuous improvements are necessary. In the past year, we have begun to make improvements to our water supply.  These improvements will improve the reliability of our supply. In the coming year we intend to install submissible pumps and upgrade treatment to the well source. These investments along with on-going operation and maintenance costs are supported by user rates. When considering the high value placed on quality drinking water, it is truly a bargain to have water service that protects public health, fights fire, supports businesses and the economy, and ensures high-quality drinking water is always available at your tap.

What is a Consumer Confidence Report?

The Consumer Confidence Report (CCR) details the quality of your drinking water, where it comes from, and how to get more information. This annual report documents all detected primary and secondary drinking water contaminants and their respective standards known as Maximum Contaminant Levels (MCLs). 
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming.

- Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including per- and polyfluoroalkyl substances, synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.

- Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribe regulations which limit the amount of certain contaminants in water provided by public water systems. The US Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

What is the source of my drinking water?.  The water supply consists of two gravel pack wells located in the village.  The water is treated for Iron, manganese and Disinfected with Chlorine.  We also have a backup a Reservoir located on Mountain Rd (PLANT).

Source Water Assessment Summary

NHDES prepared drinking water source assessment reports for all public water systems between 2000 and 2003 to assess the vulnerability of each of the state’s public water supply sources. Included in the report is a map of each source water protection area, a list of potential and known contamination sources, and a summary of available protection options. The results of the assessment, prepared on May1,2002 are noted below.

Whittle Brook Reservoir, 1 susceptibility factors were rated High, 2 were rated medium, and 8 were rated low.

GWP #1 and #2, 1 susceptibility factors were rated High, 1 was rated medium, and 10 were rated low.

Note: This information is over twenty years old and includes information that was current at the time the report was completed.  Therefore, some of the ratings might be different if updated to reflect current information.  At the present time, DES has no plans to update this data.

The complete Assessment report is available for review at the GVWP’s office. For more information, call Lee Minnich at (603) 497-3621 or visit the DES Drinking Water Source Assessment website at DES.NH.GOV/organization/divisions/water/dwgb/dwspp/dwsap.thm.

Lead Service Line Inventory

A service line inventory has been prepared and can be accessed on our website.  The Goffstown Village Precinct has No Lead service lines.

Why are contaminants in my water?

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

Do I need to take special precautions?

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline at 1-800-426-4791.

water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal or MCLG: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

How can I get involved?

Monthly Board Meetings are held the second Tuesday at 6pm, all are welcome

For more information about your drinking water, please call the superintendent Lee Minnich at (603) 497-3621.

Violations and Other information: This past year we a TTHM/HAA5, exceedance of the running average for these contaminants.

Ambient Groundwater Quality Standard or AGQS: The maximum concentration levels for contaminants in groundwater that are established under RSA 485-C, the Groundwater Protection Act.

Action Level or AL: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Level I Assessment: A study of the water system to identify potential problems and determine, if possible, why total coliform bacteria have been found in our water system

Level II Assessment: A very detailed study of the water system to identify potential problems and determine, if possible, why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

Maximum Contaminant Level or MCL: The highest level of a contaminant that is allowed in drinking

Maximum Residual Disinfectant Level or MRDL: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal or MRDLG: The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Treatment Technique or TT: A required process intended to reduce the level of a contaminant in drinking water.

Abbreviations

BDL: Below Detection Limit                                  RAA: Running Annual Average

mg/L: milligrams per Liter                                    TTHM: Total Trihalomethanes

NA: Not Applicable                                                UCMR: Unregulated Contaminant Monitoring Rule

ND: Not Detectable at testing limits                  ug/L: micrograms per Liter

NTU: Nephelometric Turbidity Unit                   pCi/L: picoCurie per Liter

ppb: parts per billion                                             ppm: parts per million

Goffstown Village Precinct

PWS ID: 0911010

2026 Report (2025 Data)

If a drinking water public notice, MCL, Monitoring/Reporting, or treatment technique violation has occurred, the following table should be used to explain the violation and health effects:

| Violations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| VIOLATIONS | Date of violation | Explain violation | Length of violation | Action taken to resolve | Health Effects (Env-Dw 804-810) |
| Monitoring and Reporting | 9/11/2025 | Failure to notify DES of Results | 1 month | Notified Consumers | No health effects |
| MCL for Disinfection Byproducts. | 3/4/2024 7/1/2024 10/1/2024 | Exceeded the running average | 6 months | Resamples | Some people who drink water containing haloacetic acids more than the MCL over many years may have an increased risk of getting cancer. |

| LEAD AND COPPER |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (Units) | Action Level (AL) | 90th percentile sample value * | Date | # of sites above AL | Violation Yes/No | Likely Source of Contamination | Health Effects of Contaminant |  |
| Copper (ppm) | 1.3 | .40 | 09/17/2025 | 0 | No | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives | Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time could experience gastrointestinal distress. Some people who drink water containing copper in excess of the action level over many years could suffer liver or kidney damage. People with Wilson’s Disease should consult their personal doctor. |  |
| Lead (ppb) | 15 | .003 | 09/17/2025 | 0 | No | Corrosion of household plumbing systems, erosion of natural deposits | (15 ppb in more than 5%) Infants and young children are typically more vulnerable to lead in drinking water than the general population. It is possible that lead levels at your home may be higher than at other homes in the community as a result of materials used in your home’s plumbing. If you are concerned about elevated lead levels in your home’s water, you may wish to have your water tested and flush your tap for 30 seconds to 2 minutes before using tap water. Additional information is available from the Safe Drinking Water Hotline (800-426-4791). (Above 15 ppb) Infants and children who drink water containing lead in excess of the action level could experience delays in their physical or mental development. Children could show slight deficits in attention span and learning abilities. Adults who drink this water over many years could develop kidney problems or high blood pressure. |  |

Lead: If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. This water system is responsible for high quality drinking water but cannot control the variety of materials used in your plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing cold water from your tap for at least 30 seconds before using water for drinking or cooking. Do not use hot water for drinking and cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline at 1-800-426-4791 or at US EPA Basic Information about Lead in Drinking Water

| Microbiological Contaminants |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (Units) | Level Detected* | Date | MCL | MCLG |  | Violation YES/NO |  | Likely Source of Contamination | Health Effects of Contaminant |
| E. coli Bacteria | 0 | 2025 | 0 | 0 |  | No |  | Human and animal fecal waste | E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a greater health risk for infants, young children, the elderly, and people with severely compromised immune systems. |
| Radioactive Contaminants |  |  |  |  |  |  |  |  |  |
| Contaminant (Units) | Level Detected* | Date | MCL | MCLG |  | Violation YES/NO |  | Likely Source of Contamination | Health Effects of Contaminant |
| Compliance Gross Alpha (pCi/L) | .7 Well #1 .5 Well #2 | 8/2024 | 15 | 0 |  | No |  | Erosion of natural deposits | Certain minerals are radioactive and may emit a form of radiation know as alpha radiation. Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer. |
| Inorganic Contaminants |  |  |  |  |  |  |  |  |  |
| Contaminant (Units) | Level Detected* | Date | MCL | MCLG | Violation YES/NO |  | Likely Source of Contamination |  | Health Effects of Contaminant |
| Arsenic (ppb) | .001 Plant 1.3 Well #2 0 Well #1 | 8/2025 8/2025 8/2025 | 5 | 0 | No |  | Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes |  | (2.5 ppb through 5 ppb) While your drinking water meets EPA’s standard for arsenic, it does contain low levels of arsenic. EPA’s standard balances the current understanding of arsenic’s possible health effects against the costs of removing arsenic from drinking water. EPA continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems. (Above 5 ppb) Some people who drink water containing arsenic in excess of the MCL over many years could experience skin damage or problems with their circulatory system and may have an increased risk of getting cancer. |
| Barium (ppm) | .007 Plant .009 Well #1 .02 Well #2 | 8/2025 8/2025 8/2025 | 2 | 2 | No |  | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |  | Some people who drink water containing barium in excess of the MCL over many years could experience an increase in their blood pressure. |
| Nitrate (as Nitrogen) (ppm) | <0.5 Plant <0.5 Well #1 .68 Well #2 | 8/2025 8/2025 8/2025 | 10 | 10 | No |  | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |  | (5 ppm through 10ppm) Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause blue baby syndrome. Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant, you should ask for advice from your health care provider. (Above 10 ppm) Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome. |
| Haloacetic Acids (HAA) (ppb) | 65 LRAA | 2025 | 60 | N/A | Yes |  | By-product of drinking water disinfection |  | Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer. |

|  |  |  |  |  |  | SECONDARY CONTAMINANTS |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Secondary MCLs (SMCL) | Level Detected | Date | Treatment technique (if any) | SMCL |  | 50 % AGQS (Ambient groundwater quality standard) | AGQS (Ambient groundwater quality standard) | Specific contaminant criteria and reason for monitoring |
| Chloride (ppm) | 11 Plant 20 Well #1 22 Well #2 | 8/2025 8/2025 8/2025 | N/A | 250 |  | N/A | N/A | Wastewater, road salt, water softeners, corrosion |
| Iron (ppm) | 1.0 Plant .14 Well#1 .13 Well #2 | 8/2025 8/2025 8/2025 | N/A | 0.3 |  | N/A | N/A | Geological |
| Manganese (ppm) | .36 Plant .076 Well #1 .038 Well #2 | 8/2025 9/2025 9/2025 | N/A | 0.05 |  | 0.15 | 0.3 | Geological |
| PH (ppm) | 5.8 Plant 6.2 Well #1 5.8 Well #2 | 8/2025 10/2025 10/2025 | N/A | 6.5-8.5 (Normal Range) |  | N/A | N/A | Precipitation and geology |
| Sodium (ppm) | 8.3 Plant 13 Well #1 14 Well #2 | 8/2025 8/2025 8/2025 | N/A | 100-250 |  | N/A | N/A | We are required to regularly sample for sodium |
| Sulfate (ppm) | 2.9 Plant 5.1 Well #1 4.7 Well #2 | 8/2025 8/2025 8/2025 | N/A | 250 |  | 250 | 500 | Naturally occurring |
| Zinc (ppm) | .33 Plant .0086 Well #1 .012 Well #2 | 8/2025 8/2025 8/2025 | N/A | 5 |  | N/A | N/A | Galvanized pipes |